## Slide 1
47th IG meeting
28th June 2018
Enagás, GRTgaz, Reganosa, REN and Teréga

## Slide 2
2. WP First target. Use of infrastructures in the Region

## Slide 3
2.1. CMP: potential for further coordination

## Slide 4: 2.1 CMP: Potential for further coordination
NRAs request
What would had happened if capacity withdrawn from LT UIOLI would had been offered in the auctions (focus on the auctions that cleared with a premium).
LT UIOLI is not developed in Portugal  analyze historical flows as well as LT bookings.
VIP PIRINEOS
VIP IBERICO
Point 8 of Spanish regulation (Circular 1/2013):
“TSOs will offer the capacity to be withdrawn in the allocation processes of the next gas year, for the first time in the quarterly products, and then in the monthly products”
France to Spain direction |  |  |  | 
Product | Time from | Offered | Requested | Allocated
Monthly | 01/01/17 | 19.985.070 | 38.029.347 | 16.089.732
Units: kWh/d 0 ºC
Auctions that cleared with premium since the application of CMP:
LT UIOLI analysis carried out in April 2016:
22 GWh/d underused in April 2015 – March 2016.
If the 22 GWh/d detected as underused would had been offered in the Monthly auction for January 2017, the capacity requested in the first bidding round would had been booked.
Spain to Portugal direction |  |  | 
Shipper | Starting date | Termination date | Booked capacity
Shipper A | 01/01/15 | 31/12/20 | 89.000.000
Shipper B | 01/10/14 | 31/08/21 | 2.000.000
Shipper B | 01/10/14 | 28/02/22 | 2.000.000
Booked VS Technical
LT capacity comes from 3 contracts:
LT capacity is booked through unbundled auctions.
Chart: GWh/d 0 ºC
2014 | 2015 | 2016 | Oct. 17 - Jun. 18
81% | 85% | 84% | 77%
79% | 79% | 72% | 64%
64% | 68% | 62% | 50%
Units: kWh/d 0 ºC
Used VS Booked
Used VS Technical
LT bookings and use

## Slide 5: 2.1 CMP: Potential for further coordination
2018 LT UIOLI analysis
France to Spain direction:
Capacity underused by 2 network users.
9 GWh/d underused.
Spain to France direction:
Capacity underused by 6 network users.
111,7 GWh/d underused.
Spain to Portugal direction:
LT contracts capacity at Spanish side underused by 1 network user.
Currently not applicable at Portuguese side due to non-existence of Long Term contracts (over one year).
VIP PIRINEOS
VIP IBERICO
Period of analysis March 2017 – April 2018
Analysis sent to CNMC

## Slide 6: 2.1 CMP: Potential for further coordination
2018 LT UIOLI analysis
Period 1 : 04/2017 to 09/2017 – 6 months
STATUS : congested based on Premium on product [10/2016-09/2017]
1 Expeditor under uses his capacity =< 80%
Period 2 : 10/2017 to 03/2018 – 6 months
STATUS : non congested based on product [10/2017-09/2018]
1 Expeditor under uses his capacity =< 80%
CONCLUSION = conditions not met for triggering of UIOLI LT.
VIP PIRINEOS
Period of analysis March 2017 – April 2018
Analysis sent to the CRE

## Slide 7
6. WP Fifth target. Pending issues

## Slide 8
6.1 Follow-up on the OSBB functioning

## Slide 9: 6.1 Follow-up on the OSBB functioning: statistics
    Additional capacity proposed on PRISMA but not subscribed
Days since implementation = 231
 | France to Spain |  | Spain to France | 
 | (days) | % | (days) | %
OS offered | 68 | 29% | 132 | 57%
not offered : IT issue (Teréga) | 27 | 12% | 27 | 12%
not offered : [Nomination] above trigger value | 72 | 31% | 8 | 3%
not offered : Planned reduction | 64 | 28% | 64 | 28%
VIP PIRINEOS: [07/11/2017 to 26/06/2018]
for FR > ESP direction : No OS sold
For ESP > FR direction : On day 02/03/2018, all OS sold = 22,5 GWh
Maintenance period :
09/04/2018 -> 18/05/2018 + 28/05 to 22/06/2018

## Slide 10: 6.1 Follow-up on the OSBB functioning
    Additional capacity proposed on PRISMA but not subscribed
VIP PIRINEOS: FR - ES
Bundled offer – without OS
Unbundled offer – Enagas
No allocation of capacity
Allocation of OS capacity: No.
Daily auctions
OS offer

## Slide 11: 6.1 Follow-up on the OSBB functioning
VIP PIRINEOS: ES - FR
Bundled offer – without OS
Unbundled offer – Enagas
OS offer
No allocation of capacity
No Allocation of OS capacity
Daily auctions

## Slide 12: 6.1 Follow-up on the OSBB functioning
VIP IBERICO. Spain to Portugal
37 GWh/d
Bundled offer – without OS
≈ 9,8 GWh/d booked in 5 auctions.
No allocation of OS capacity.
Daily auctions in April and May 2018
3 GWh/d
Bundled offer – without OS
Daily auctions in June 2018
OS offer

## Slide 13
Thank you for your attention!