## Transparency questionnaire_TSO
| Name of TSO | Enagás
| Country | Spain
Monitoring Questionnaire: Annex 1 chapter 3 of Gas Regulation 715/2009 - Transparency requirements
Table Key
Article | Point of a sub-article
Article of Annex 1 chapter 3 of Gas Regulation 715/2009 | Transparency requirement | Clarification of requirements where applicable | Publication
|  |  | Yes/No/Not applicable | Link to the relevant information on TSOs website where appropriate | Any additional comments
3.1.2 Content of publication
3.1.2 a) | Do you publish a detailed and comprehensive description of the different services offered and | Qualitative assessment by regulators and stakeholders will be needed to decide if the information published deemed to be detailed and comprehensive. We will ask stakeholders if they feel the TSO is providing detailed enough relevant information that they find useful | YES | Services Offered http://www.enagas.es/cs/Satellite?cid=1146232319783&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | Services offered and charges are determined in the regulation
| their charges? |  | YES | Tariffs, Tolls and Charges http://www.enagas.es/cs/Satellite?cid=1146817742620&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | Services offered and charges are determined in the regulation
3.1.2 b) | Do you publish the different types of transportation contracts available for these services? |  | YES | Current contract models http://www.enagas.es/cs/Satellite?cid=1142417697899&language=en&pagename=ENAGAS%2FPage%2FENAG_listado
3.1.2.c) | Do you publish the network code and/or the standard conditions outlining the rights and responsibilities of all network users including: |  | YES | Transmission System Operator Regulations http://www.enagas.es/cs/Satellite?cid=1147337908955&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | Enagás is chairing the group of NGTS (System Code) and has a section in its webpage where participants can consult all the information available
| 1. Harmonised transportation contracts and other relevant documents; |  | YES | Current contract models http://www.enagas.es/cs/Satellite?cid=1142417697899&language=en&pagename=ENAGAS%2FPage%2FENAG_listado | Contracts are approved by the National Regulatory Authority adn can also be consulted in their website
| 2. if relevant for access to the system, for all relevant points as defined in paragraph 3.2 of this Annex, a specification of relevant gas quality parameters, including at least the gross calorific value and the Wobbe index, and the liability or costs of conversion for network users in case gas is outside these specifications; |  | YES | Quality of Gas at Enagás Plants and Measurement Systems http://www.enagas.es/cs/Satellite?cid=1146232320864&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Gas Quality (of the whole system) http://www.enagas.es/cs/Satellite?cid=1142417697719&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | It is important to mention that gas quality is one of the issues which will be dealt with in the Network Codes at EU level, and the Interoperability WA within ENTSOG is already working on it
| 3. if relevant for access to the system, for all relevant points information on pressure requirements; |  | NA | NA | This information is not relevant to access the spanish system. Pressure requierements are a condition for delivery which is defined between the interconnected operators (for IPs through Interconnection Agrrements) and do not form part of the third party acces rules nor the nomination rules of the shippers. It is a variable that cannot be managed by them as it is totally dependent of the general transmission system. The publication of pressure requirements is irrelevant for the decision making process of the shippers.
| 4. the procedure in the event of an interruption of interruptible capacity, including, where applicable, the timing, extent, and ranking of individual interruptions (for example pro-rata or first-come-last-interrupted); |  | YES | Capacities (firm and interruptible) http://www.enagas.es/cs/Satellite?cid=1142417697944&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Interruptibility International Connections http://www.enagas.es/cs/Satellite?cid=1146234865367&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal and http://www.enagas.es/cs/Satellite?cid=1146234865754&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Assignment of Interruptible Service (gas pipelines classified as saturated) http://www.enagas.es/cs/Satellite?cid=1146232722022&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Available Capacity and Interruptible Offer (Gas system) http://www.enagas.es/cs/Satellite?cid=1306224340631&language=en&pagename=ENAGAS%2FPage%2FENAG_CapacidadesDisponibles | The conditions for allocation and the procedure to apply interruptions are regulated by the Resolution of the Ministry of Inudstry, Tourism and Trade (DGPEyM) of 25 july 2006 which is uptaded on an annual basis. In addition the Spanish Network Code in its chapter 10 says that all interruptible clients should be informed with sufficient time in advance to avoid damages in their installations
3.1.2 d) | Do you publish the harmonised procedures applied when using the transmission system, including the definition of key terms? | Applies to any harmonised procedures, including network codes. A glossary of key terms should be made available. | YES | The NGTS (Spanish system code) in its article 1 includes a section where the general concepts are defined: http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146242562479&ssbinary=true In addition, Enagás publishes several sections in its webpage with several procedures: Tranmission: Procedures related to differents processes: LNG Plants, Vessel Compatibility and Offloading, International Connections Management, Connection Points Transport – Transport Management, Connection Points Transport – Distribution Management, Measurement and Transport. http://www.enagas.es/cs/Satellite?cid=1146231909051&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Whole sytem: differents processes of the system operation: viabilities, supply cut-off, planning and operation, balances and measurements and distribution, as well as the applicable regulation currently in force to the measurement, quality and odorization of gas and their equipments http://www.enagas.es/cs/Satellite?cid=1142417697713&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFin | The Spanish Network Code (NGTS) has as main objective to fix the procedures and mechanisms for the technical management of the syste, coordinating the activity with all the agents who participate in the system to guarantee the corrrect technical functioning of the gas system, its continuity, quality and security of supply respecting the basic principles of objectivity, transparency and non discriminations. In addition to the definitions included in the Hydrocarbons Law, the NGTS in its article 1 includes a section with the key terms.
3.1.2.e) | Do you publish provisions on | Should publish clear methodology statements for each of these provisions | YES | Royal Decree 949/2001 can be consulted in Enagás website under regulatory framework – National Regulation: http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146242562076&ssbinary=true | The Royal Decree 949/2011 specifies that applications for access will be treated on a first come first served basis. The Royal Decree is published in Enagás' website There are other areas within Enagás' website where the information regarding mechanisms for capacity allocation such as UGS, interruptible capacity and interconection with France is published
1. capacity allocation,
2. congestion management,
3. anti-hoarding, and
4. reutilisation procedures?
3.1.2.f) | Do you publish the rules applicable for capacity trade on the secondary market vis-à-vis the transmission system operator? |  | YES | Capacity Secondary Market http://www.enagas.es/cs/Satellite?cid=1146232514932&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | Enagás has made available a Bulletin Board where to ease the exchanges of contracted capacity
3.1.2.g) | Do you publish rules on balancing and methodology for the calculation of imbalance charges? |  | YES | NGTS: Articles 7 and 9 are published under: http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146253878389&ssbinary=true Distribution and Balances http://www.enagas.es/cs/Satellite?cid=1146232108954&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | Balancing rules and the formula for imbalance calculation are defined wihint the regulation, more precisely in articles 7 and 9 of the Network Code (NGTS) The balance of each user is communicated to them through the logistic system. In addition under the area "Technical Management of the System" within the web, there is information of the residual imbalances as well as of the "gases de maniobra" of the whole system which is detailed per entry installation to the system
3.1.2.h) | If applicable, do you publish | Where a TSO offers flexibility and tolerance levels the service offered and corresponding charges should be published
| the flexibility and tolerance levels included in transportation and other services without separate charge, as well as |  | YES | Regulatory Framework National Regulation http://www.enagas.es/cs/Satellite?cid=1142417697925&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoCombo | The Hydrocarbons Law establishes under its additional provision 25, that the regasification, transmission and distribution tarriffs will include the right to use the necessary facilities in order to transport the gas from an entry point of the transmission network to the delivery point of the consumer and the right to have a minimum operational storage in the network for system operational reasons. The operationalstorage is fixed at 1/2 days of the transmission and distribution contracted capacity for the transmission network. For LNG it is fixed at 5 days of the daily contracted capacity for the LNG tanks of the regasification plants in general terms; except for the case of those users of the facilities who have a contracted tranmission and distribution capacity inferior to 0,5% of the total contracted capacity, for which the right to use the operational storage in the transmission network will correspond to one day of the tranmission and distribution contracted capacity. The Ministry can modify the number of operational storage to be included in the regasification tariff and in the transmission and distribution tariff.
| any flexibility offered in addition to this and the corresponding charges |  | YES |  | No additional charge
3.1.2.i) | Do you publish
| a detailed description of the gas system of the transmission system operator and its relevant points of interconnection as defined in paragraph 3.2 of this Annex, as well as | Qualitative assessment by regulators and stakeholders will be needed to decide if the information published deemed to be detailed and comprehensive. We will ask stakeholders if they feel the TSO is providing detailed enough relevant information that they find useful | YES | Transport Network: http://www.enagas.es/cs/Satellite?cid=1142417697966&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Description of the system: http://www.enagas.es/cs/Satellite?cid=1274949578278&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Relevant Points: http://www.enagas.es/cs/Satellite?cid=1146237196031&language=es&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal
| the names of the operators of the interconnected systems or facilities? |  | YES | Names of the operators of the interconnected systems http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146247726297&ssbinary=true
3.1.2.j) | Do you publish the rules applicable for connection to the system operated by the transmission system operator? |  | YES | RD 1434/2002 http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146242562547&ssbinary=true The models of contracts for the connection of infrastructures of Enagás can be found in the following link: http://www.enagas.es/cs/Satellite?c=Page&cid=1142417697899&pagename=ENAGAS%2FPage%2FENAG_listado&site=ENAGAS The specific operational procedures at an interconnection point with Enagas' network can be found in the following link: http://www.enagas.es/cs/Satellite?cid=1146231909051&language=es&pagename=ENAGAS%2FPage%2FENAG_listado | Article 6.2.d) of the Royal Decree1434/2002 establishes that the owners of the transmission infrasctructures have the right to demand that that the installations connected to those of their property entail de fulfill the established technical conditions and are used adequately. Article 6,3,d) of the same Royal decree establishes the the owners of the transmission infrastructures have the obligation to facilitate the connection to their installations to other owners of installations or qualified consumers, in accordance with the provisions esablished under the Royal Drecree. Article 12 of the Royal Decree regulated the connection of the distributor with the transmission network.
3.1.2.k) | Do you publish information on emergency mechanisms, as far as it is the responsibility of the transmission system operator, such as measures that can lead to the disconnection of customers groups and other general liability rules that apply to the transmission system operator? | Where it is not responsibility of the TSO they should publish a link to the information on the third party's website who is responsible and provide an explanation of what can be found at the link | YES | Enagás publishes the network code including NGTS-11 under the following link http://www.boe.es/boe/dias/2005/10/11/pdfs/A33241-33270.pdf Enagás publishes the information related to the emergency procedures under Technical Management of the System: Operational Notices http://www.enagas.es/cs/Satellite?cid=1146231702495&language=es&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio Additionally, under the Transport area the incidences that have occured in the infrastructures belonging to Enagás can be found under: http://www.enagas.es/cs/Satellite?cid=1146231909051&language=en&pagename=ENAGAS%2FPage%2FENAG_listado | The information with regards to the emergency procedures is described in the network code (NGTS-10), The NGTS-11 contains a definition of emergency situation in the system
3.1.2.l) | Do you publish
| procedures agreed upon by transmission system operators at interconnection points, of relevance for access of network users to the transmission systems concerned, relating to interoperability of the network, |  | YES | The "Protocolo de detalle" PD-07 is published in enagás' websiste under Regultaroy Framework - National Legislation: http://www.enagas.es/cs/Satellite?cid=1142417697925&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoCombo In addition, Enagás publishes several sections in its webpage with several procedures: Tranmission: Procedures related to differents processes: LNG Plants, Vessel Compatibility and Offloading, International Connections Management, Connection Points Transport – Transport Management, Connection Points Transport – Distribution Management, Measurement and Transport. http://www.enagas.es/cs/Satellite?cid=1146231909051&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Whole system: different processes of the system operation: viabilities, supply cut-off, planning and operation, balances and measurements and distribution, as well as the applicable regulation currently in force to the measurement, quality and odorization of gas and their equipments http://www.enagas.es/cs/Satellite?cid=1142417697713&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | The protocolo de detalle 07 (PD-07) develops the programming necessities that the owners of the transmisstion, regasification and sortage facilities require for the correct planning and operation of the system, which are included under chapters 3 and 4 of the NGTS (ITC/3126/2005). Additionally, section 4 of PD-07 establishes the communication procedures that need to be used for the nominations and programming. Initially, and every time it is technically physical, the SL-ATR will be used ( transmission programations and electricity market) as prefered means for the exchange of information related to programming and viabilities.
agreed procedures on nomination and matching procedures and
other agreed procedures that set out provisions in relation to gas flow allocations and balancing, including the methods used?
3.1.2.m) | Do you publish a detailed and comprehensive description of the methodology and process, including information on the parameters employed and the key assumptions, used to calculate the technical capacity? | Qualitative assessment by regulators and stakeholders will be needed to decide if the information published deemed to be detailed and comprehensive. We will ask stakeholders if they feel the TSO is providing detailed enough relevant information that they find useful |  | The "Protocolo de detalle" PD-07 is published in enagás' websiste under Regultaroy Framework - National Legislation http://www.enagas.es/cs/Satellite?cid=1142417697925&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoCombo | Article 2.8 of Order 3126/2005 (NGTS) establishes that the Holders of the installations shall publish the capacities of their facilities with the scope and detail contained under PD-10 “Calculation of the capacity of the facilities of the gas system”. This way, it is guaranteed that everyone with access to gas facilities count with the same information, which is uniform and sufficient and will allow for the efficient decision making process in their right to third party access. PD-10 “Calculation of the capacity of the facilities of the gas system” establishes that the holders of the facilities will publish for each of their facilities, the maximum, nominal and usable capacity and their contractual detail: contracted capacity for the liberalised market, reserved capacity for the regulated market if there is one, contracted capacity for international transit and the available capacity. In addition, the capacities of the facilities will be updated on a monthly basis. The publication of each update will be done before the fifth working day of the following month.
3.1.1. Form of publication:
3.1.1.1. | Do you publish the information referred to under paragraph 3.1.2. in the following manner:
| (a) on a website accessible to the public, free of charge and without any need to register or otherwise sign on with the transmission system operator; | The information published in compliance with Annex 3 should be available on the TSO's own website as this is where we expect most market participants would look for the information. If the information is held on a third party website then the TSO should provide a link to the corresponding third party website with a explanation of what can be found at the link | YES | www.enagas.es | there is no need to register nor sign in
| (b) on a regular/rolling basis; the frequency shall be according to the changes that take place and the duration of the service; | Frequency of publication will depend on the information. The TSO should publish details of how frequently the changes to information are likely for each information provision published and clear signal on their website when new information/changes to existing information has been published. | YES | NA | updates are made according to the best available information
| (c) in a user-friendly manner; | Qualitative assessment by regulators and stakeholders will be needed to decide if the information published deemed to be detailed and comprehensive. A Qualitative assessment will include a range of criteria including but not limited to; ease of locating information on the TSOs website; links being clearly labelled and fully functioning; how clear Is it what information is being published and how often it is being updated; are technical terms and abbreviations fully explained, and do stakeholders feel what is published provides relevant and necessary information. These criteria above are illustrative and not exhaustive and there use will vary depending on the nature of the information being published. We will also be seeking stakeholders views for this assessment. | YES | NA
| (d) in a clear, quantifiable, easily accessible way and on a non-discriminatory basis; | No password should be needed for interested parties to access published information. No registration should be required to access information | YES | NA
| (e) in downloadable format that allows for quantitative analyses; | In either CSV or XML format | YES |  | some documents are still subject to conversion to excel format. Enagás is making progress.
| (f) in consistent units, in particular kWh (with a combustion reference temperature of 298,15 K) shall be the unit for energy content and m 3 (at 273,15 K and 1,01325 bar) shall be the unit for volume. The constant conversion factor to energy content shall be provided. In addition to the format above, publication in other units is also possible; | Information must be published in the units specified or clearly show how to convert data to show data in the units specified | YES | NA | Enagás has implemented a diclaimer in its webpage which says the following: "Capacities are expressed under the following reference conditions: [GCV at 0ºC; V(0ºC, 1.01325 bar)]. According to Annex J of ISO 6976 the factor applied for converting the GCV from 0ºC to 25ºC shall be 1/1.0026” In addition, the Spanish system code in its chapter NGTS–01 establishes the following measurement units: 1.5 Measurement Units.– Under these NGTS the following measuring units are considered: The volume units used are: • For LNG: m3 of GNL. • For GN: m3(n), under normal pressure and temperature conditions • the energy unit will be kWh, calculated with a referenced GCV of 1,01325 bar and 273,15 K. • entry and exit capacities will be expressed in kWh/h or kWh/día, in m3 de GNL/h, m3(n)/h, m3(n)/day and billions of m3(n)/year (bcm/year); • Storage capacity will be expressed in kWh, m3(n), and the stored capacity in kWh and in m3(n); • Bar is the pressure unit; • ºC is the temperature unit. These units will be compulsory in order to make balances, measurements and billing between parties. Please note that this issue will be dealt with in the Interoperability FG and NC.
| (g) in the official languages of the member State and |  | YES | NA | Spanish
| (g) in English |  | YES | NA | the website offers an english translation however not all the documents are accesible in english. Enagás is working towards the full translation of the documents into english
3.1.1.2. | Do you provide details on actual changes to all information referred to under paragraph 3.1.2 in a timely manner as soon as available to you? | Definition of timely manner will depend on the information given. As soon as change is known it should be published. The website should also clearly signal when something has changed/information has been updated stating when the update occurred. | YES | NA | Changes are made according to the best available information
3.3 Information to be published at all relevant points and the time schedule according to which this information should be published |  |  | YES | Enagás published the list of relevant points under: http://www.enagas.es/cs/Satellite?cid=1146237196031&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | The Ministry published the resolution on relevant points after formal consultation with the users on 19 july 2011. http://www.mityc.es/energia/gas/Legislacion/2011/490_Resolucion_DGPEM_Publicacion_Informacion_Puntos_Pertinentes.pdf The resolution stated that Enagás should publish the list of relevant points three months after.
3.3.1., 3.3.2. and 3.3.3. | Do you publish at all relevant points the following information for all services and ancillary services provided: |  |  |  | Royal Decree 949/2001, amended by Royal Decree 1434/2002, establishes in article 6.6 that those holders of regasification, storage and transmission facilities shall publish on a quarterly basis the contracted capacity, the available capacity and the foreseen expansions provided for each of their facilities, distinguishing between the capacity that has been allocated to international transits, the capacity allocated to the regulated market and the capacity in the liberalized market. In addition, for each of these segments it shall distinguish between the capacity that has been assigned for access of length equal to or greater than two years and the contracts of access of less than two years.
| (a) the technical capacity for flows in both directions; | Technical capacity is "the maximum firm capacity that the TSO can offer to users, taking into account system integrity, and the operational requirements of the network" | YES | Capacity of Enagás http://www.enagas.es/cs/Satellite?cid=1292244273113&language=es&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal System Capacity http://www.enagas.es/cs/Satellite?cid=1146236890840&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal
| Is this information published on a numerical basis? |  | YES | NA
| Is this information in hourly or daily periods, equal to the smallest reference period? |  | YES | NA | the ifnormation is on daily periods as the Spanish gas system has a daily balancing regime
| Is this information and updates published as soon as available to you (“near real time”)? | TSO will need some time to check validity of data so accept this can not be done instantaneously. The text is clear (as soon as the TSO has the information and has validated it should be published) We will ask stakeholders if they consider the information to be published near to real time | YES | NA | Enagás publishes the best available information
| Is this information published for a period of at least 18 months ahead? |  | YES | Capacity of Enagás http://www.enagas.es/cs/Satellite?cid=1292244273113&language=es&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal System Capacity http://www.enagas.es/cs/Satellite?cid=1146236890840&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | the information is published for the following 18 months
| Do you publish historical information on the technical capacity for flows in both directions for the past five years on a rolling basis? | Where possible all TSO 's should make all necessary efforts to publish historical information if it is available to them. As this annex represents new requirements TSO's may not yet have built up 5 years worth of data, therefore the approach should be to allow TSO's to build up 5 years of historical data on a rolling basis. Therefore for new requirements 5 years of historical data should be available by March 2016 at the latest. | YES |  | slowly building up the database since regulation became applicable
| Is information for single final customers and for production facilities, that is excluded from the definition of relevant points as described under 3.2 (1)(a) published in aggregate format at least per balancing zone. The aggregation of single final customers and of production facilities, excluded from the definition of relevant points as described under 3.2 (1)(a), shall for the application of this annex be considered one relevant point. |  | NA | NA | The Ministry of Industry, Tourism and Trade, published on 19 July 2011 a resolution defining the relevant points where the aggregation of single final customers and of production facilities, excluded from the definition of relevant points as described under 3,2 are not contemplated as a relevant point. Please see below the resolution from the Ministry; http://www.mityc.gob.es/energia/gas/Legislacion/2011/490_Resolucion_DGPEM_Publicacion_Informacion_Puntos_Pertinentes.pdf
| (b) the total contracted firm and interruptible capacity in both directions |  | YES | Capacities (firm and interruptible) http://www.enagas.es/cs/Satellite?cid=1142417697944&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Interruptibility International Connections http://www.enagas.es/cs/Satellite?cid=1146234865367&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal and http://www.enagas.es/cs/Satellite?cid=1146234865754&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Assignment of Interruptible Service (gas pipelines classified as saturated) http://www.enagas.es/cs/Satellite?cid=1146232722022&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Available Capacity and Interruptible Offer (Gas system) http://www.enagas.es/cs/Satellite?cid=1306224340631&language=en&pagename=ENAGAS%2FPage%2FENAG_CapacidadesDisponibles
| Is this information published on a numerical basis? |  | YES |  | GWh/día
| Is this information in hourly or daily periods, equal to the smallest reference period? |  | YES |  | daily periods
| Is this information and updates published as soon as available to you (“near real time”)? |  | YES |  | best available information
| Is this information published for a period of at least 18 months ahead? |  | YES |  | See cell 66
| Do you publish historical information on the total contracted firm and interruptible capacity for flows in both directions for the past five years on a rolling basis? |  | YES |  | slowly building up the database since regulation became applicable
| (c) the nominations and re-nominations in both directions; |  | YES | Available Capacity and Interruptible Offer http://www.enagas.es/cs/Satellite?cid=1306224340631&language=en&pagename=ENAGAS%2FPage%2FENAG_CapacidadesDisponibles Operation Plan of the System http://www.enagas.es/cs/Satellite?cid=1287506577748&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboPoWeb Considerations: Programming and Nomination http://www.enagas.es/cs/Satellite?cid=1146236973878&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio | Nominations and renominations can are uptaded on a daily basis. They can be checked on a net basis under the Operation Plan of the system where positive values are considered INFLOWS and negative values OUTFLOWS. Nominations and renominations on both sides can be consulted under the application on available capacity and interruptible offer
| Is this information published on a numerical basis? |  | YES |  | GWh/día
| Is this information in hourly or daily periods, equal to the smallest reference period? |  | YES |  | daily periods
| Is this information and updates published as soon as available to you (“near real time”)? |  | YES | best available information | best available information
| Do you publish historical information on the nominations and re-nominations in both directions for the past five years on a rolling basis? |  | YES |  | slowly building up the database since regulation became applicable
| (d) the available firm and interruptible capacity in both directions; |  | YES | Capacities (firm and interruptible) http://www.enagas.es/cs/Satellite?cid=1142417697944&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Interruptibility International Connections http://www.enagas.es/cs/Satellite?cid=1146234865367&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal and http://www.enagas.es/cs/Satellite?cid=1146234865754&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Assignment of Interruptible Service (gas pipelines classified as saturated) http://www.enagas.es/cs/Satellite?cid=1146232722022&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Available Capacity and Interruptible Offer (Gas system) http://www.enagas.es/cs/Satellite?cid=1306224340631&language=en&pagename=ENAGAS%2FPage%2FENAG_CapacidadesDisponibles
| Is this information published on a numerical basis? |  | YES
| Is this information in hourly or daily periods, equal to the smallest reference period? |  | YES |  | daily periods
| Is this information and updates published as soon as available to you (“near real time”)? |  | YES |  | best available information
| Is this information published for a period of at least 18 months ahead? |  | YES |  | See cell 77
| Do you publish historical information on the available firm and interruptible capacity in both directions for the past five years on a rolling basis? |  | YES |  | 5 year data still not available, the database is being built.
| (e) actual physical flows; | Should be actual metered flows and should be published at a minimum daily | YES | Snapshot Stream Flows http://www.enagas.es/cs/Satellite?cid=1277890059418&language=en&pagename=ENAGAS%2FPage%2FENAG_snapshot
| Is this information published on a numerical basis? |  | YES |  | m3(n).
| Is this information in hourly or daily periods, equal to the smallest reference period? |  | YES |  | Instant
| Is this information and updates published as soon as available to you (“near real time”)? |  | YES |  | updated every hour
| Do you publish historical information on actual physical flows for the past five years on a rolling basis? |  | YES |  | slowly building up the database since regulation became applicable
| (f) planned and actual interruption of interruptible capacity; | As soon as the TSO is aware of an interruption it should be published. Should check with market participants whether they feel this is happening and whether this should be interpreted more strictly (with a more specific rule). | YES | Infrastructure Incidents http://www.enagas.es/cs/Satellite?cid=1146232321075&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio Operation Notes (whole system) http://www.enagas.es/cs/Satellite?cid=1146231702495&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio | As soon as an interruption occurs it is communicated via the links mentioned. Incidents are then included in the respective maintainance programmes
| Is this information published on a numerical basis? |  | YES |  | GWh/día
| Is this information in hourly or daily periods, equal to the smallest reference period? |  | YES |  | daily periods
| Is this information and updates published as soon as available to you (“near real time”)? |  | YES |  | best available information
| Do you publish historical information on planned and actual interruptions of interruptible capacity for the past five years on a rolling basis? |  | YES |  | slowly building up the database since regulation became applicable
| (g) planned and unplanned interruptions to firm services as well as the information on restoration of the firm services (in particular, maintenance of the system and the likely duration of any interruption due to maintenance). | ENSTO-G launched a public consultation on the issue of Harmonisation of Maintenance Publication (PR008-11) http://www.entsog.eu/publications/index.html. We would expect the information to be published according to the results of this consultation | YES | Enagás Infrastructure Maintenance Plan http://www.enagas.es/cs/Satellite?cid=1146232321220&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Annual Maintenance Plan for the system http://www.enagas.es/cs/Satellite?cid=1146235734631&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio
| Do you publish planned interruptions at least 42 days in advance? |  | YES |  | Planned interruptions are published at least 1,5 months ahead
| Is this information and updates published as soon as available to you (“near real time”)? |  | YES |  | taking into account best available information
| Do you publish historical information on planned and unplanned interruptions for the past five years on a rolling basis? |  | YES |  | slowly building up the database since regulation became applicable
3.3.4. | Do you publish measured values of the gross calorific value or the Wobbe index at all relevant points, on a daily basis? |  | YES | Monthly Gas quality values http://www.enagas.es/cs/Satellite?cid=1146232106741&language=es&pagename=ENAGAS%2FPage%2FENAG_listadoComboMesAnio
| Do you publish preliminary figures at the latest 3 days following the respective gas day? |  | YES |  | Enagás is currently implementing the regulatory change reflected in the new version of chapter PD-01 of the system code, and more especifically what refers to chapter 6.5 in its IT systems (ie: SL-ATR) Every day (d) the monthly and bimestral average of the day before (d-1) of every municipality and the daily GCV of d-4 will be published. The data will simultaneously be published in Enagás' website
| Do you publish final figures within 3 months after the end of the respective month? |  | YES |  | Final figures are published 15 days after the gas day
3.3.5. | Do you publish for all relevant points, available capacities, booked and technical capacities, on an annual basis |  | YES | Capacity http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250206833&ssbinary=true | PD-10 (Spanish network code), approved by a resolution of the Directorate General of mines and energy policy of 20 April 2007, establishes in its article 2 that transmission capacities will be updated on a monthly basis. The publication of each update will be done before the 5th working day of the following month.
| over all years where capacity is contracted plus 1 year, and |  | YES | Capacity http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250206833&ssbinary=true
| at least for the next 10 years. |  | YES | Capacity http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250206833&ssbinary=true
| Is this information updated at least every month or more frequently, if new information becomes available? |  | YES | Capacity http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250206833&ssbinary=true | Information is updated according to best available information
| Does the publication reflect the period for which capacity is offered to the market? |  | YES | Capacity http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250206833&ssbinary=true
3.1.1.1. | Do you publish the information referred to under paragraph 3.3(1) to 3.3(5) in the following manner:
| (a) on a website accessible to the public, free of charge and without any need to register or otherwise sign on with the transmission system operator; | The information published in compliance with Annex 3 should be available on the TSO's own website as this is where we expect most market participants would look for the information, but we should ask market participants if this is the case. If the information is held on a third party website then the TSO should provide a link to the corresponding third party website with an explanation of what can be located at the link | YES | www.enagas.es
| (b) on a regular/rolling basis; the frequency shall be according to the changes that take place and the duration of the service; | Frequency will depend on information but should be clearly indicated for each peice of information | YES |  | Information is updated according to best available information
| (c) in a user-friendly manner; | Qualitative assessment by regulators and stakeholders will be needed to decide if the information published deemed to be detailed and comprehensive. A Qualitative assessment will include a range of criteria including but not limited to; ease of locating information on the TSOs website; links being clearly labelled and fully functioning; how clear Is it what information is being published and how often it is being updated; are technical terms and abbreviations fully explained, and do stakeholders feel what is published provides relevant and necessary information. These criteria above are illustrative and not exhaustive and there use will vary depending on the nature of the information being published. We will also be seeking stakeholders views for this assessment. | YES | NA | NA
| (d) in a clear, quantifiable, easily accessible way and on a non-discriminatory basis; | No password should be needed for interested parties to access published information | YES
| (e) in downloadable format that allows for quantitative analyses; | In either CSV or XML format | YES |  | Not all documents are published in downloadble format but Enagás is working torwards the transfer to excel documents
| (f) in consistent units, in particular kWh (with a combustion reference temperature of 298,15 K) shall be the unit for energy content and m 3 (at 273,15 K and 1,01325 bar) shall be the unit for volume. The constant conversion factor to energy content shall be provided. In addition to the format above, publication in other units is also possible; | Information must be published in the units specified or clearly show how to convert data to show data in the units specified | YES |  | Enagás has implemented a diclaimer in its webpage which says the following: "Capacities are expressed under the following reference conditions: [GCV at 0ºC; V(0ºC, 1.01325 bar)]. According to Annex J of ISO 6976 the factor applied for converting the GCV from 0ºC to 25ºC shall be 1/1.0026” In addition, the Spanish system code in its chapter NGTS–01 establishes the following measurement units: 1.5 Measurement Units.– Under these NGTS the following measuring units are considered: The volume units used are: • For LNG: m3 of GNL. • For GN: m3(n), under normal pressure and temperature conditions • the energy unit will be kWh, calculated with a referenced GCV of 1,01325 bar and 273,15 K. • entry and exit capacities will be expressed in kWh/h or kWh/día, in m3 de GNL/h, m3(n)/h, m3(n)/day and billions of m3(n)/year (bcm/year); • Storage capacity will be expressed in kWh, m3(n), and the stored capacity in kWh and in m3(n); • Bar is the pressure unit; • ºC is the temperature unit. These units will be compulsory in order to make balances, measurements and billing between parties. Please note that this issue will be dealt with in the Interoperability FG and NC.
| (g) in the official languages of the member State and |  | YES |  | The website is accesible in English and in Spanish
| (g) in English |  | YES |  | Enagas' website can be viewed in English however, not all documents are accessible in the language.
3.1.1.2. | Do you provide details on actual changes to all information referred to under paragraph 3.3(1) to 3.3(5) in a timely manner as soon as available to you? | Definition of timely manner will depend on the information given. As soon as change is known it should be published. The website should also clearly signal something has changed | YES |  | Enagás publishes the best available information
3.4 Information to be published regarding the transmission system and the time schedule according to which this information should be published
3.4.1. | Do you publish on a daily basis and updated every day the following specifications re. the aggregated amounts of capacities offered, and contracted on the secondary market (i.e. sold from one network user to another network user), where the information is available to you: | TSO should be aware of this information even if a third party is involved, therefore we would expect the TSO to publish this information or provide a link to where the information is published on the third party's website. | YES | Bulletin Board http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146253508750&ssbinary=true | The Hydrocarbons Law, modified by Law 12/2011 under article 70, paragraph 2, provides that regulations will define the minimum content of contracts and, where appropriate, the conditions of operation of the secondary market of capacity will be regulated. The ITC/3862/2007 Order in its chapter II, article 11, develops the secondary market in capacity for underground storages. Enagás S.A. will act as administrator of the Bulletin Board of the secondary market of capacity. The framework in which the secondary market of capacity is developed, allows the publication and communication between users to carry out exchanges of capacity. It is not an automatic matching process; the Administrator of the market will facilitate establishment of contacts among the interested users, under the conditions described in this document, to make offers and requests of capacity through the Bulletin Board or "Bulletin Board on the secondary market of capacity".
| (a) interconnection point where the capacity is sold; |  | YES
| (b) type of capacity, i.e. entry, exit, firm, interruptible; |  | YES
| (c) quantity and duration of the capacity usage rights; |  | YES
| (d) type of sale, e.g. transfer or assignment; |  | YES
| (e) the total number of trades/transfers; |  | YES
| (f) any other conditions known to the transmission system operator as mentioned in 3.3. |  | YES
| Is this information provided by a third party? | Where provided by third party please provide link to relevant information on their website
3.4.2. | Do you publish the following specifications re. harmonised conditions under which capacity transactions (e.g. transfers and assignments) will be accepted: |  |  | Bulletin Board http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146253508750&ssbinary=true Form for capacity offers and requests http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fvnd.ms-excel&blobheadername1=Content-disposition&blobheadervalue1=attachment%3Bfilename%3DFicha+MS+Capacidad+feb-2010.xls&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250580801&ssbinary=true Terms and conditions of the Capacity Secondary Market http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146253308123&ssbinary=true Model of the contract for the Secondary Market http://www.enagas.es/cs/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1146250580769&ssbinary=true | The Hydrocarbons Law, modified by Law 12/2011 under article 70, paragraph 2, provides that regulations will define the minimum content of contracts and, where appropriate, the conditions of operation of the secondary market of capacity will be regulated. The ITC/3862/2007 Order in its chapter II, article 11, develops the secondary market in capacity for underground storages. Enagás S.A. will act as administrator of the Bulletin Board of the secondary market of capacity. The framework in which the secondary market of capacity is developed, allows the publication and communication between users to carry out exchanges of capacity. It is not an automatic matching process; the Administrator of the market will facilitate establishment of contacts among the interested users, under the conditions described in this document, to make offers and requests of capacity through the Bulletin Board or "Bulletin Board on the secondary market of capacity".
| (a) a description of standardised products which can be sold on the secondary market; |  | YES
| (b) lead time for the implementation/acceptation/registration of secondary trades. In case of delays the reasons have to be published; | TSO Should clearly set out what lead times are and indicate when delays have occured | YES
| (c) the notification to the transmission system operator by the seller or the third party as referred to under 3.4(1) about name of seller and buyer and capacity specifications as outlined in 3.4(1). |  | YES
| Is this information provided by a third party? | Where provided b third party please provide link to relevant information on their website | YES
3.4.3. | Regarding the balancing service of your system, do you provide to each network user, for each balancing period, its specific preliminary imbalance volumes and cost data per individual network user, at the latest 1 month after the end of the balancing period? |  | YES | Simulator of Operative Storage http://www.enagas.es/cs/Satellite?cid=1307595832943&language=en&pagename=ENAGAS%2FPage%2FENAG_CapPrincipal# | The Spanish Network Code (NGTS)I n its section 07 "Balance" stipulates that: the technical manager of the system will perform individual periodic “balances” for each user who utilises the facilities of the gas system. These balances will contain all the information related to the balancing of entries and exits, stock levels and level of autonomy and will be made available to users through electronic means. (SL-ATR) All means of communication between users and the technical manager of the system will be carried out through the SL-ATR logistics system for this purpose. There is an imbalance charge which can be applied to the shippers Each user of the network is informed of their status of balance or imbalance through SL-ATR (IT platform)
| Do you provide final data of customers supplied according to standardised load profiles within 14 months later? |  | NA
| Do you respect confidentiality of commercially sensitive information while providing this information? |  | NA
| Is this information provided by a third party? | Where provided by third party please provide link to relevant information on their website | YES |  | This information is exchanged between DSO-shippers
3.4.4. | Do you offer flexibility services, other than tolerances, for third party access? |  | NA |  | No additional flexibility services
| If you do, do you publish daily forecasts on a day-ahead basis of the maximum amount of flexibility, the booked level of flexibility and the availability of flexibility for the market for the next gas day? |  | NA
| Do you also publish ex-post information on the aggregate utilisation of every flexibility service at the end of each gas day? |  | NA
3.4.5. | (5) Do you publish, per balancing zone: |  |  |  | The Spanish Network Code (NGTS) in its section 07 "Balance" stipulates that: Daily Balance or balance (n+2): this balance will be done on a daily and aggregated basis for each user with the information provisional allocations made. It aims the control and assistance in the management of stocks of the gas system users, as well as the identification of those under am imbalance situation. The balance will have the following breakdown: Daily Balance of storage management for the commercial operation in the network of transmission pipelines. Daily balance in regasification plants. Daily balance in underground storages. Detailed information on final allocations: this information will be developed by the technical manager of the system on a monthly basis and will be detailed per day and per user. The main objective of this information is to match the balances with gas billing information. The information shall include the details of the possible regularisation for previous months. The daily balance per user will contain at least the following detail: • flows and balance of LNG in regasification plants, expressed in kWh for each of the facilities operated • flows and balance of natural gas in the transmission network and in the underground storages, taking into account the energy count. Enagás, in its role of Technical Manager of the system publishes the "balance" for its single balancing zone according to the best available information
| the amount of gas in the transmission system at the start of each gas day and |  | YES | Linepack http://www.enagas.es/cs/Satellite?cid=1283428930995&language=en&pagename=ENAGAS%2FPage%2FENAG_parPreDia
| the forecast of the amount of gas in the transmission system at the end of each gas day? |  | YES
| Do you publish the amount of gas in the transmission system on an hourly basis? |  | YES
| Do you update the forecast amount of gas for the end of the gas day on an hourly basis throughout the gas day? |  | YES
| Alternatively, do you publish, per balancing zone |  | NA
| the aggregate imbalance position of all users at the start of each balancing period and |  | NA
| the forecast of the aggregated imbalance position of all users at the end of each gas day? |  | NA
3.4.6. | Do you provide user-friendly instruments for calculating tariffs? | Whether the information is deemed "User-friendly" will require a qualitative "common-sense" assessment by regulators and stakeholders | YES | Tolls and fees simulators http://www.enagas.es/cs/Satellite?cid=1292482992182&language=en&pagename=ENAGAS%2FPage%2FENAG_SimuladorPeajesCanones
Note on D12: CNE: Is the information published: yes/no/not applicable
Note on E12: CNE: Where TSO feels additional explanation is required. This should always be completed if either "No" or Not applicable is indicated under publication
Note on E13: CNE: Please provide a link to the relevant information on your website where you have indicated "yes" to publication
TO BE COMPLETED BY THE TSO

## Transparency questionnaire_SSO
| Name of SSO | Insert name
| Country | Insert country
Monitoring Questionnaire: Articles 15, 19, 20 of Gas Regulation 715/2009 - Transparency requirements and Third-party access services
Table Key
Article | Point of a sub-article
| Transparency requirement | Clarification of requirements where applicable | Publication
|  |  | Yes/No/Not applicable | Link to the relevant information on SSOs website where appropriate | Any additional comments
19. Transparency requirements concerning storage facilities and LNG facilities
19.1 | Do you publish a detailed information regarding the services you offer? |  | YES | Storage facilities http://www.enagas.es/cs/Satellite?cid=1146232320370&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | The Royal Decree 949/2011 develops the third party access regulation to gas infrastructures. Article 3 develops which facilities lay under the third party access. Chapter IV and more precisely section three, defines the tariffs and tolls for the basic third party access services explaining to which facilities these services give access to. Article 6.8 of the Royal Decree 949/2001 establishes that those with the access right will be able to subscribe contracts for the utilisation of other services and facilities which include services or conditions different to those that are regulated in the Royal Decree, and these will be freely agreed between the parties. Such services will be offered to all those interested, under transparent, objective and non-discriminatory conditions. In general terms, and following article 10.2.l) of the Royal Decree 49/2001, the holders of the facilities under the access regime, will have the obligation to make available to whom it may request, the scope and economic conditions applicable to the economic services offered, different to the regulated ones
| Do you publish a detailed information regarding the relevant conditions applied for these services? |  |  | Underground Storage http://www.enagas.es/cs/Satellite?cid=1142417697978&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal
| Do you publish the technical information necessary for storage facility users to gain effective access to the storage facility? |  | YES | Allocation of Underground Storage http://www.enagas.es/cs/Satellite?cid=1146232727045&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoCombo | The Ministerial Order ITC/3826/2007 of 28 December, establishes under its article 4 point 1 that “ the allocation of capacity will be done on an annual basis by the Technical Manager of the System and will be based on a criterion of distribution between the obligors to the maintenance of stocks of such stocks in accordance with article 98 of the Law 34/1998, of 7 October of the hydrocarbons Sector in proportion to their sales or firm consumption during the previous year”.
19.2 | For the services provided, do you publish information on contracted and available storage facility capacity on a numerical basis on a regular rolling basis and in user-friendly standarised manner? | This information must be published by the SSO or the relevant regulatory authority. |  | Capacities http://www.enagas.es/cs/Satellite?cid=1142417697944&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Daily information related to Underground Storage Facilities Management http://www.enagas.es/cs/Satellite?cid=1314774837714&language=en&pagename=ENAGAS%2FPage%2FENAG_AASS_Gestion | The Royal Decree 949/2011 develops the third party access regulation to gas infrastructures. Article 3 develops which facilities lay under the third party access. Chapter IV and more precisely section three, defines the tariffs and tolls for the basic third party access services explaining to which facilities these services give access to. Article 6.8 of the Royal Decree 949/2001 establishes that those with the access right will be able to subscribe contracts for the utilisation of other services and facilities which include services or conditions different to those that are regulated in the Royal Decree, and these will be freely agreed between the parties. Such services will be offered to all those interested, under transparent, objective and non-discriminatory conditions. In general terms, and following article 10.2.l) of the Royal Decree 49/2001, the holders of the facilities under the access regime, will have the obligation to make available to whom it may request, the scope and economic conditions applicable to the economic services offered, different to the regulated ones
19.3 | Do you disclose the information required by this Regulation in a meaningful, quantifiably clear and easily accesible way and on a non-discriminatory basis? |  | YES | NA | Enagás believes to disclose the information required in a meaningful, quantifiably clear and easily accesible way and on a non-discriminatory basis. Additionally, most of the information published at Enagás' website can be downloaded in excel format in order to facilitate the management of the data.
19.4 | Do you publish the amount of gas in each storage facility, or group of storage facilities if that corresponds to the way in which the access is offered to system users? | In cases in which a storage system user is the only user of a storage facility, the storage system user may submit to the national regulatory authority a reasoned request for confidential treatment of the data. When the national regulatory authority comes to the conclusion that such a request is justified, taking into account, in particular, the need to balance the interest of legitimate protection of business secrets, the disclosure of which would negativily affect the overall comercial strategy of the storage user, with the objective of creating a competitive internal gas market, it may allow the storage system operator not to publish these data, for a duration of up to one year. | YES | Provisional daily information on the Underground Storage - Serrablo http://www.enagas.es/cs/Satellite?cid=1146232321527&language=es&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio Provisional daily information on the Underground Storage- Gaviota http://www.enagas.es/cs/Satellite?cid=1146235903668&language=es&pagename=ENAGAS%2FPage%2FENAG_listado | According to what is established under article 9.1. of the Spanish network code with regards to the normal operation of the system (NGTS -09 Operación Normal del Sistema), Enagás in its role of technical manager of the system shall make public to all stakeholders, the following aggregated information with regards to regasification plants and underground storages: - Annual programme for the use of windows of unloading of ships in regasification plants. - The aggregate level of stock in LNG plants, underground storages and storage for the commercial operation in the transmission network and monthly entries of gas into the transmission with daily detail, according to the last viable schedule. - Load factor of the LNG plants, including the historic evolution and future forecasts The “NGTS -09 Normal operation of the system” determines in its article 9.3 the obligation to publish the following aggregate information before 14.00 of the following gas day: - Total demand of the system - LNG real stock - Total gas stock in the underground storages - Breakdown of the entries of gas into the system.
| Do you publish the inflows and outflows, and the available storage capacity, including for those facilities exempted from third-party access? |  |  | Provisional daily information on the Serrablo Underground Storage - Serrablo http://www.enagas.es/cs/Satellite?cid=1146232321527&language=es&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio Provisional daily information on the Serrablo Underground Storage- Gaviota http://www.enagas.es/cs/Satellite?cid=1146235903668&language=es&pagename=ENAGAS%2FPage%2FENAG_listado Underground Storage Facilities- Physic parameters (The whole system) http://www.enagas.es/cs/Satellite?cid=1313655205664&language=en&pagename=ENAGAS%2FPage%2FENAG_AASS_ParamFisicos
| Is this information communicated to the TSO? | The obligations of communication to and publication by the TSO shall apply, unless the aggregated data are identical to the individual storage system data for which the national regulatory authority has approved non-publication. | YES | - | Enagás is a basic infrastructure operator which operates LNG terminals, transmission networks and storage facilitiesthus, comunication with the TSO is fully guaranteed
| Is this information published by the TSO on an aggregated level per system or subsystem defined by the relevant points? |  | YES | Physical Status of the system http://www.enagas.es/cs/Satellite?cid=1283428930995&language=en&pagename=ENAGAS%2FPage%2FENAG_parPreDia Daily information related to Underground Storage Facilities Management http://www.enagas.es/cs/Satellite?cid=1314774837714&language=en&pagename=ENAGAS%2FPage%2FENAG_AASS_Gestion
| Is this information updated at least daily? |  | YES | Provisional daily information on the Serrablo Underground Storage - Serrablo http://www.enagas.es/cs/Satellite?cid=1146232321527&language=es&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio Provisional daily information on the Serrablo Underground Storage- Gaviota http://www.enagas.es/cs/Satellite?cid=1146235903668&language=es&pagename=ENAGAS%2FPage%2FENAG_listado
19.5 | Do you publish sufficiently detailed information on tariff derivation, the metodologies and the structure of tariffs for infrastructure under regulated third-party access? | This information shall be published by the SSO or the relevant regulatory authority. | YES | Tariffs are published by the Ministry of Industry, Tourism and Trade in Spanish. Enagás provides a direct link to the regulation in place in relation to the tariff derivation published by the Ministry http://www.enagas.es/cs/Satellite?cid=1146817742620&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Tolls and fees simulator: http://www.enagas.es/cs/Satellite?cid=1292482992182&language=en&pagename=ENAGAS%2FPage%2FENAG_SimuladorPeajesCanones. | Article 92 of the Hydrocarbons Law sets the principles under which the tariffs and tolls need to be based. Chapter IV of the Royal Decree 949/2011 develops the regulation related to tariffs, establishing their criteria and structure. - according to article 25.1, the concrete values, or a system for determining and updating the tariffs, will be established through Ministerial orders, which will be annually modified or when or in cases in which special causes that influence the system determine so. - Article 25.2 establishes that they will be unique for the whole national territory subject to the volume, pressure and consumption form and will have a maximum cap. Its structure can be modified in the future, if reasons of optimization of the gas system, market or implementation of formative development at EU level make it advisable. The concrete values for the tariffs and tolls and their update have been fixed through successive ministerial orders during the years 2002, 2003, 2004, 2005, 2006, 2007, 2008 and 2009. The integrated economic system established under the Royal Decree 949/2011, followed by the Royal Decree 326/2008 and the Ministerial Orders that set the tariffs and tolls which provide and annual high degree of transparency in the Spanish gas system. It should only be reviewed whether there is a need to analyse the adequacy to provide any other details about the methodology of calculation if the current information is found as insufficient
15. Third-party access services concerning storage and LNG facilities
15.1 | c) Do you publish data on the use and availability of services you offer, in a time-frame compatible with the storage facility users´reasonable commercial needs? | This information is subject to the monitoring by the national regulatory authority. | YES | Monthly Gas system reports can be found under the following link and contain information on the use and availability of the services offered: http://www.enagas.es/cs/Satellite?cid=1146233000618&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboDoble | Due to the fact that the Hydrocarbons Law is equally applicable to transmission, regasifiation plants and underground storages, all the extracts from the regulation which are applicable to article 14 are also applicable for regasification plants and underground storages. In article 4 of the Royal Decree 1434/2002, it is established that regasification plants and underground storages will be considered as transmission facilities. Non-discriminatory access to all users Article 70 of the Hydrocarbons Law regulates the access transmission facilities. Article 70.1 establishes the holders of the facilities shall allow for the utilization of the facilities to the Direct Customers in the Marker and to the commercialisers that fulfil the required conditions, under the principles of non-discrimination, transparency and objectivity. The price for the use of the transmission networks will be determined by the approved tariffs. Cooperation with the transmission interconnected networks Article 10.2 of the Royal Decree 949/2001 determines that the transmission system operators have the obligations to manage and operate their facilities in coordination with other holders of the facilities when it is necessary to guarantee the access to contracted services, in any case, with the technical manager of the system, and when the feasibility and security of the interconnected system so requires. Article 6 of the Royal Decree 1434/2002 establishes the obligations and Rights of the transmission system operators, including in paragraph 3, that the transmission system operators shall facilitate the connection to their facilities on behalf of other facility holders or of the qualified consumers. The cooperation between the stakeholders that participate in the gas system is guaranteed with the task that the Hydrocarbon law envisages in its tenth provision where Enagás assumes the functions and role of the Technical Manager of the System. Article 64 of the Hydrocarbons Law creates the figure of the Technical Manager of the System (GTS). In the first paragraph this article determines that the Technical Manager of the System will be responsible for the operation and technical management of the Basic Network and the secondary transport, and will guarantee continuity and security of supply of natural gas and the correct coordination between access points, underground storages, transmission and distribution. The technical manager of the system will perform its duties in coordination with the different stakeholders that operate or use the gas system under the principles of transparency, objectivity and independence. Information Obligations Paragraph 6 of article 6 of the Royak Decree 949/2001 establishes that holders of the regasification, storage and transmission facilities shall publish on a quarterly basis; the contracted capacity, available, foreseen expansions for each of their facilities, making a distinction between the capacity assigned to international transit, that assigned to the regulated market, and the contracted capacity contracted in the liberalised market. In addition for each of these segments, a distinction will be made between the allocated capacity for those contracts which are equal or superior to one year or equal to two years and the access contracts which are inferior to two years. Wihtin the obligations of the holders of the infrastructures, article 10.2.e), the Royal Decree 949/2001 we can highlight the obligation of informing the National Regulatory Authorities (DGPEyM and CNE) and the technical manager of the system with regards to the consumption data, stock, and contracted and available capacities. The Spanish regulation guarantees the offer of the services in a non-discriminatory way to all the network users. The cooperation between the stakeholders that participate in the gas system is guaranteed with the figure of the Technical Manager of the System, which has been granted to Enagás and who will be responsible of coordinating the interaction between all those stakeholders who participate in the gas system. The gas system enjoys a high level of transparency, thus information requirements do not raise any problems.
20. Record keeping by system operators
| Do you keep at the disposal of the national authority, including the national regulatory authority, the national competition authority and the Comission, all information referred in Article 19 for a period of 5 years? |  | YES | NA | All the information referred to in Article 19 is at the disposal of the Regulatory Authorities.
TO BE COMPLETED BY THE SSO
Note on D12: CNE: Is the information published: yes/no/not applicable
Note on E12: CNE: Where SSO feels additional explanation is required. This should always be completed if either "No" or Not applicable is indicated under publication
Note on E13: CNE: Please provide a link to the relevant information on your website where you have indicated "yes" to publication

## Transparency questionnaire_LSO
| Name of LSO | Insert name
| Country | Insert country
Monitoring Questionnaire: Articles 15, 19, 20 of Gas Regulation 715/2009 - Transparency requirements and Third-party access services
Table Key
Article | Point of a sub-article
| Transparency requirement | Clarification of requirements where applicable | Publication
|  |  | Yes/No/Not applicable | Link to the relevant information on LSOs website where appropriate | Any additional comments
19. Transparency requirements concerning storage facilities and LNG facilities
19.1 | Do you publish a detailed information regarding the services you offer? |  | YES | Services Offered http://www.enagas.es/cs/Satellite?cid=1146232319857&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | The Royal Decree 949/2011 develops the third party access regulation to gas infrastructures. Article 3 develops which facilities lay under the third party access. Chapter IV and more precisely section three, defines the tariffs and tolls for the basic third party access services explaining to which facilities these services give access to. Article 6.8 of the Royal Decree 949/2001 establishes that those with the access right will be able to subscribe contracts for the utilisation of other services and facilities which include services or conditions different to those that are regulated in the Royal Decree, and these will be freely agreed between the parties. Such services will be offered to all those interested, under transparent, objective and non-discriminatory conditions. In general terms, and following article 10.2.l) of the Royal Decree 49/2001, the holders of the facilities under the access regime, will have the obligation to make available to whom it may request, the scope and economic conditions applicable to the economic services offered, different to the regulated ones
Do you publish a detailed information regarding the relevant conditions applied for these services?
| Do you publish the technical information necessary for LNG facility users to gain effective access to the LNG facility? |  | YES | The technical information of the LNG termnals is available at the following link: http://www.enagas.es/cs/Satellite?cid=1142417697959&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Enagás published the services offered at the following links: http://www.enagas.es/cs/Satellite?cid=1146232319783&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Regasification: http://www.enagas.es/cs/Satellite?cid=1146232319857&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal LNG offloading from ships: http://www.enagas.es/cs/Satellite?cid=1146232319924&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal LNG tank loading http://www.enagas.es/cs/Satellite?cid=1146232320009&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Loading of tanks: http://www.enagas.es/cs/Satellite?cid=1146232320081&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal LNG Storage: http://www.enagas.es/cs/Satellite?cid=1146232320153&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | The Royal Decree 949/2011 develops the third party access regulation to gas infrastructures. Article 3 develops which facilities lay under the third party access. Chapter IV and more precisely section three, defines the tariffs and tolls for the basic third party access services explaining to which facilities these services give access to. Article 6.8 of the Royal Decree 949/2001 establishes that those with the access right will be able to subscribe contracts for the utilisation of other services and facilities which include services or conditions different to those that are regulated in the Royal Decree, and these will be freely agreed between the parties. Such services will be offered to all those interested, under transparent, objective and non-discriminatory conditions. In general terms, and following article 10.2.l) of the Royal Decree 49/2001, the holders of the facilities under the access regime, will have the obligation to make available to whom it may request, the scope and economic conditions applicable to the economic services offered, different to the regulated ones
19.2 | For the services provided, do you publish information on contracted and available LNG facility capacity on a numerical basis on a regular rolling basis and in user-friendly standarised manner? | This information must be published by the LSO or the relevant regulatory authority. | YES | Facilities capacities (Enagás facilities) http://www.enagas.es/cs/Satellite?cid=1142417697944&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal System Capacities http://www.enagas.es/cs/Satellite?cid=1307595832943&language=en&pagename=ENAGAS%2FPage%2FENAG_CapPrincipal | You have to click on the Excel spreadsheet and select the point from which you want to consult the information. It is an interactive and downloadable file, that the user can consult and save if necessary.
19.3 | Do you disclose the information required by this Regulation in a meaningful, quantifiably clear and easily accesible way and on a non-discriminatory basis? |  | YES | NA | Enagás believes to disclose the information required in a meaningful, quantifiably clear and easily accesible way and on a non-discriminatory basis. Additionally, most of the information published at Enagás' website can be downloaded in excel format in order to facilitate the management of the data.
19.4 | Do you publish the amount of gas in each storage facility, or group of storage facilities if that corresponds to the way in which the access is offered to system users? | In cases in which a storage system user is the only user of a storage facility, the storage system user may submit to the national regulatory authority a reasoned request for confidential treatment of the data. When the national regulatory authority comes to the conclusion that such a request is justified, taking into account, in particular, the need to balance the interest of legitimate protection of business secrets, the disclosure of which would negativily affect the overall comercial strategy of the storage user, with the objective of creating a competitive internal gas market, it may allow the storage system operator not to publish these data, for a duration of up to one year. | YES | Each month, Enagás publishes the daily amount of gas at each LNG facility at the following link: http://www.enagas.es/cs/Satellite?cid=1142417697670&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboAnio Contracted capacity in Transmission network http://www.enagas.es/cs/Satellite?cid=1307595832943&language=en&pagename=ENAGAS%2FPage%2FENAG_CapPrincipal
| Do you publish the inflows and outflows, and the available LNG facility capacity, including for those facilities exempted from third-party access? |  | YES | Inflows and outflows for each LNG plant can be consulted under: http://www.enagas.es/cs/Satellite?cid=1283428930995&language=en&pagename=ENAGAS%2FPage%2FENAG_parPreDia Enagás publishes the contracted and available storage and regasification capacity at each of the LNG terminals at the following link: http://www.enagas.es/cs/Satellite?cid=1292244273113&language=es&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal | According to what is established under article 9.1. of the Spanish network code with regards to the normal operation of the system (NGTS -09 Operación Normal del Sistema), Enagás in its role of technical manager of the system shall make public to all stakeholders, the following aggregated information with regards to regasification plants and underground storages: - Annual programme for the use of windows of unloading of ships in regasification plants. - The aggregate level of stock in LNG plants, underground storages and storage for the commercial operation in the transmission network and monthly entries of gas into the transmission with daily detail, according to the last viable schedule. - Load factor of the LNG plants, including the historic evolution and future forecasts The “NGTS -09 Normal operation of the system” determines in its article 9.3 the obligation to publish the following aggregate information before 14.00 of the following gas day: - Total demand of the system - LNG real stock - Total gas stock in the underground storages - Breakdown of the entries of gas into the system.
| Is this information communicated to the TSO? | The obligations of communication to and publication by the TSO shall apply, unless the aggregated data are identical to the individual storage system data for which the national regulatory authority has approved non-publication. | YES | NA | Enagás is a basic infrastructure operator which operates LNG terminals, transmission networks and storage facilities; thus, comunication with the TSO is fully guaranteed
| Is this information published by the TSO on an aggregated level per system or subsystem defined by the relevant points? |  | YES | Physical Status of the system http://www.enagas.es/cs/Satellite?cid=1283428930995&language=en&pagename=ENAGAS%2FPage%2FENAG_parPreDia
| Is this information updated at least daily? |  | YES | Physical Status of the system http://www.enagas.es/cs/Satellite?cid=1283428930995&language=en&pagename=ENAGAS%2FPage%2FENAG_parPreDia
19.5 | Do you publish sufficiently detailed information on tariff derivation, the metodologies and the structure of tariffs for infraestructure under regulated third-party access? | This information shall be published by the LSO or the relevant regulatory authority. | YES | Tariffs are published by the Ministry of Industry, Tourism and Trade in Spanish. Enagás provides a direct link to the regulation in place in relation to the tariff derivation published by the Ministry http://www.enagas.es/cs/Satellite?cid=1146817742620&language=en&pagename=ENAGAS%2FPage%2FENAG_pintarContenidoFinal Tolls and Fees simulators http://www.enagas.es/cs/Satellite?cid=1292482992182&language=en&pagename=ENAGAS%2FPage%2FENAG_SimuladorPeajesCanones | Article 92 of the Hydrocarbons Law sets the principles under which the tariffs and tolls need to be based. Chapter IV of the Royal Decree 949/2011 develops the regulation related to tariffs, establishing their criteria and structure. - according to article 25.1, the concrete values, or a system for determining and updating the tariffs, will be established through Ministerial orders, which will be annually modified or when or in cases in which special causes that influence the system determine so. - Article 25.2 establishes that they will be unique for the whole national territory subject to the volume, pressure and consumption form and will have a maximum cap. Its structure can be modified in the future, if reasons of optimization of the gas system, market or implementation of formative development at EU level make it advisable. The concrete values for the tariffs and tolls and their update have been fixed through successive ministerial orders during the years 2002, 2003, 2004, 2005, 2006, 2007, 2008 and 2009. The integrated economic system established under the Royal Decree 949/2011, followed by the Royal Decree 326/2008 and the Ministerial Orders that set the tariffs and tolls which provide and annual high degree of transparency in the Spanish gas system. It should only be reviewed whether there is a need to analyse the adequacy to provide any other details about the methodology of calculation if the current information is found as insufficient
15. Third-party access services concerning storage and LNG facilities
15.1 | c) Do you publish data on the use and availability of services you offer, in a time-frame compatible with the LNG facility users´reasonable commercial needs? | This information is subject to the monitoring by the national regulatory authority. | YES | Monthly Gas system reports can be found under the following link and contain information on the use and availability of the services offered: http://www.enagas.es/cs/Satellite?cid=1146233000618&language=en&pagename=ENAGAS%2FPage%2FENAG_listadoComboDoble | Due to the fact that the Hydrocarbons Law is equally applicable to transmission, regasifiation plants and underground storages, all the extracts from the regulation which are applicable to article 14 are also applicable for regasification plants and underground storages. In article 4 of the Royal Decree 1434/2002, it is established that regasification plants and underground storages will be considered as transmission facilities. Non-discriminatory access to all users Article 70 of the Hydrocarbons Law regulates the access transmission facilities. Article 70.1 establishes the holders of the facilities shall allow for the utilization of the facilities to the Direct Customers in the Marker and to the commercialisers that fulfil the required conditions, under the principles of non-discrimination, transparency and objectivity. The price for the use of the transmission networks will be determined by the approved tariffs. Cooperation with the transmission interconnected networks Article 10.2 of the Royal Decree 949/2001 determines that the transmission system operators have the obligations to manage and operate their facilities in coordination with other holders of the facilities when it is necessary to guarantee the access to contracted services, in any case, with the technical manager of the system, and when the feasibility and security of the interconnected system so requires. Article 6 of the Royal Decree 1434/2002 establishes the obligations and Rights of the transmission system operators, including in paragraph 3, that the transmission system operators shall facilitate the connection to their facilities on behalf of other facility holders or of the qualified consumers. The cooperation between the stakeholders that participate in the gas system is guaranteed with the task that the Hydrocarbon law envisages in its tenth provision where Enagás assumes the functions and role of the Technical Manager of the System. Article 64 of the Hydrocarbons Law creates the figure of the Technical Manager of the System (GTS). In the first paragraph this article determines that the Technical Manager of the System will be responsible for the operation and technical management of the Basic Network and the secondary transport, and will guarantee continuity and security of supply of natural gas and the correct coordination between access points, underground storages, transmission and distribution. The technical manager of the system will perform its duties in coordination with the different stakeholders that operate or use the gas system under the principles of transparency, objectivity and independence. Information Obligations Paragraph 6 of article 6 of the Royak Decree 949/2001 establishes that holders of the regasification, storage and transmission facilities shall publish on a quarterly basis; the contracted capacity, available, foreseen expansions for each of their facilities, making a distinction between the capacity assigned to international transit, that assigned to the regulated market, and the contracted capacity contracted in the liberalised market. In addition for each of these segments, a distinction will be made between the allocated capacity for those contracts which are equal or superior to one year or equal to two years and the access contracts which are inferior to two years. Wihtin the obligations of the holders of the infrastructures, article 10.2.e), the Royal Decree 949/2001 we can highlight the obligation of informing the National Regulatory Authorities (DGPEyM and CNE) and the technical manager of the system with regards to the consumption data, stock, and contracted and available capacities. The Spanish regulation guarantees the offer of the services in a non-discriminatory way to all the network users. The cooperation between the stakeholders that participate in the gas system is guaranteed with the figure of the Technical Manager of the System, which has been granted to Enagás and who will be responsible of coordinating the interaction between all those stakeholders who participate in the gas system. The gas system enjoys a high level of transparency, thus information requirements do not raise any problems.
20. Record keeping by system operators
| Do you keep at the disposal of the national authority, including the national regulatory authority, the national competition authority and the Comission, all information referred in Article 19 for a period of 5 years? |  | YES | NA | All the information referred to in Article 19 is at the disposal of the Regulatory Authorities.
Note on D12: CNE: Is the information published: yes/no/not applicable
Note on E12: CNE: Where LSO feels additional explanation is required. This should always be completed if either "No" or Not applicable is indicated under publication
Note on E13: CNE: Please provide a link to the relevant information on your website where you have indicated "yes" to publication
TO BE COMPLETED BY THE LSO